## Slide 1
Mini-workshop on Cavities for Fundamental Physics
April 28, 2026 Tsung-Dao Lee Institute
SungWoo YOUN
Dark Matter Axion Group (DMAG)
Institute for Basic Science (IBS)

## Slide 2
Dark Matter Axion

## Slide 3: Dark matter candidates
Samuel Velasco/Quanta Magazine
WIMP
Individual patricles
Coherenetly oscillating waves
Strong CP problem
&
Dark matter mystery
Axion
QCD

## Slide 4: Experiment map
C. O’Hare (2020)
DMAG

## Slide 5: Why Axions? Why now?
Strong CP problem
vs.
EXP
QCD
Neutron EDM
Most underrated puzzle in all of physics ⟹ Most compelling targets in fundamental physics!
⇓
QCD axion (1978)
Dark matter axion? (1983)
Axion = Particle Physics + Cosmology + Quantum sensing
Invisible axion (1979)
Very light (sub-eV)
Weakly interacting
Early Universe
PQ solution (1977)

## Slide 6: How to see it?
Axions couple with SM
Axion models
Detection principle
  Sikivie effect (1983)
  (Macroscopic Primakoff)
 | Photons | Fermions | nEDMs
Hamiltonian |  |  | 
Observable | Photon | Spin precession | Oscillating EDM
Detection | Power spectrum, photon counter, … | Magnetometer, NMR, … | NMR, polarimeter, …
 | Photons | Fermions | nEDMs
Hamiltonian |  |  | 
Observable | Photon | Spin precession | Oscillating EDM
Detection | Power spectrum, photon counter, … | Magnetometer, NMR, … | NMR, polarimeter, …
PQWW | DFSZ | KSVZ
SM ferminons |  | BSM fermions
Standard () | Invisible () | 
Ruled out | Benchmark | 
PQWW | DFSZ | KSVZ
SM ferminons |  | BSM fermions
Ruled out | Benchmark | 
Turning dark matter into light!

## Slide 7: Axion search – current status
eV (GHz)
~10 photons/day
Helioscope (solar axion)
LSW (axion at lab)
~1 photon/day
Haloscope (DM axion)
~100 photons/sec
Cosmological
boundary
Astrophysical constraints
eV (GHz)

## Slide 8
Cavity Haloscopes

## Slide 9: Cavity haloscope
Resonant conversion when
  Most sensitive in microwaver (eV, GHz) region
Axion-photon signal power (a→γγ)
Signal-to-noise ratio (SNR)
Scan rate (Figure of Merit)
  is unknown => search by tuning
System noise ()
ex)
(~4000 photons/sec)
(~100 photons/sec)

## Slide 10: Cavity haloscope – in a nutshell
Leading sensitivity in the microwave region
Quantum noise limited amplifier T
Signal amplification
w/ minimal noise
High field Magnet B
Boosting a→γγ conversion
*
Psig ~ 10–23 W
(~100 photons/s)
Cryogenics T
Thermal noise reduction
Tunable High-Q resonator
V, Q, C, Δf
Signal enhancement
Extreme conditions!
Resonant enhancement faxion = fcavity

## Slide 11: Freq. tuning and power spectrum
Conductor
Dielectric

## Slide 12: History of haloscopes

## Slide 13: Leading haloscopes
ADMX | 
Magnet | 8T / 600mm
Cavity | Cu (150 L)
Tphy | 100 mK
Receiver | JPA
Tsys | 600 mK
CAPP⇒DMAG | 
Magnet | 12T / 320mm
Cavity | Cu/HTS (40 L)
Tphy | 30 mK
Receiver | JPA
Tsys | 200 mK

## Slide 14: IBS-DMAG (2025 –)
Institute for Basic Science - Dark Matter Axion Group
13 researchers (3 foreighers, 2 women)

## Slide 15: Equipment
Manufacture | Model | TB [mK]
Leiden | DRS1000 | 5
BlueFors | LD400 | 10
BlueFors | LD400 | 10
BlueFors | LD400 | 10
BlueFors | LD400 | 10
Refrigerators
Magnets
Manufacture | Bmax [T] | Bore [mm]
Oxford | 12 | 320
AMI | 8 | 165
AMI | 12 | 96
AMI | 8 | 125
Name
DMAG-12TB
DMAG-8TB
DMAG-12T
DMAG-8T
Quantum Sensors
Conducting parallel experiments targeting different mass regions!
Experiments
DMAG-8T
DMAG-8TB
DMAG-12T
DMAG-12TB
Notes: Start, describe, discuss, make a few wards

## Slide 16
R&D Activities

## Slide 17: Superconducting cavities
PRA 17 6 (2022)
3rd | 
EuBCO + APC | 
Fujikura | 
1.5 | 0.2
2.2 | 5.4
3.5 M | 13 M
AQN search | Axion search
2nd
GdBCO
Theva
1.5
2.3
0.5 M
Axion search
cf. QCu ~ 104~5
PRD 99 101101 (2019)
9 GHz
NbTi / Nb3Sn
Stabilizer (Cu) 20 um
Protection layer (Ag) 2 um
Superconducting
layer (GdBCO) 2 um
Buffer layer (MgO) 0.7 um
Substrate [Hastelloy) 50 um
ReBCO-based HTS
Generation
Material
Manufacture
Volume [L]
Freq. [GHz]
Q @ 8 T
Application
1st
YBCO
AMSC
0.3
6.9
0.33 M
Demo.
Higher critical field BC2
&
High depinning frequency fdp
AMSC
Chart: Magnetic Field (T)
TM010
TM011

## Slide 18: GrAHal-CAPP/DMAG
f = 12.3 GHz
QHTS = 800k
(cf. QCu = 35k)
QHTS > 10 x QCu
Grenoble hybrid magnet
HTS performance test up to 42T
Acquisition of axion search data at 12.3 GHz

## Slide 19: Quantum amplification
Josephson parametric amplifier (JPA)
ωp = 2ωs
JPA
(nonlinear LC circuit)
SQUID
Nobel Prize in Phyiscs 2025
John Clarke
Michel H. Devoret
John M. Martinis
High gain / low noise
Narrow bandwidth (~50 MHz)
U. of Tokyo & RIKEN
Parametric
amplication
Frequency
tuning
Notes: quarter-wave coplanar waveguide resonator

## Slide 20: Multi-JPA system
Parallel-series configuration
3-layer shield (Al––Nb)
High gain / low noise
Broad bandwidth (~300 MHz)
⇒ frequency multiplexing
SST 39 025011 (2026)
Notes: quarter-wave coplanar waveguide resonator

## Slide 21: High-frequency approach
Multi-cell (pizza) cavities
PLB 777 412 (2018)
ADMX’s approach
2-cell
4-cell
8-cell
Superior to multiple-cavity systems
Larger volume usage / simpler receiver chain / f8-cell ~ 4 x f1-cell
2.1→3.2 GHz
PRL 125 221302 (2020)
1.6→5.9 GHz
PRL 135 211801 (2025)
2.9→5.3 GHz
PRL 133 051802 (2024)

## Slide 22: High-frequency approach
Higher-order modes
Mode | frel | Qrel | Vrel | Cabs
TM010 | 1 | 1 | 1 | 0.69
TM020 | 2.3 | 1.5 | 1 | 0.13
TM030 | 3.6 | 1.9 | 1 | 0.05
Dielectric array w/ an auxetic structure
Single axis rotation => 2D symmetric motion
PRL 133 211803 (2024)
PRL 135 091804 (2025)
Dielectric loading

## Slide 23
Search Highlights

## Slide 24: DMAG-8T
HTS-cavity search
Sapphire rod
f010 = 2.3 GHz
Q ~ 5 x 105
arXiv:2609.03879 / 2609.08144
f010 = 5.4 GHz
Q > 3.5 x 106
No turning rod
f = 3.2 ~ 4.0 GHz, Q0 ~ 2 x 105
HTS rod => Full HTS cavity

## Slide 25: DMAG-8TB
DMAG-8TB
(8T/165mm)
8-cell pizza cavity
(5.9 GHz)
flux-JPA
(Tsys ~ 400 mK)
Near KSVZ sensitivity
PRL 135 211801 (2025)
5.6 GHz
5.9 GHz

## Slide 26: DMAG-12T
High-frequency search
DMAG-12T (12T/96m)
TM020 + Auxetic + JPA
300 MHz near 5 GHz
Near KSVZ sensitivity
arXiv:2609:09717
First broadband search using a higher-order mode!
Square
Hexagon
Alternating scans

## Slide 27: CAPP-12TB
CAPP-12TB (12T/320mm)
Wet type + He recovery systems
f > 1 GHz, V = 37 L, Tsys < 250 mK
DFSZ sensitivity (~2 MHz/day)
PRL 130 071002 (2023)
PRX 14 031023 (2024)
Ready for a new scan
(1.3–1.5 GHz with a hybrid cavity)

## Slide 28: CAPP-12TB: axion signal!?
f
Signal strength follows the cavity response!
Dedicated validation studies
Independent cross-checks w/ CAPP-8TB
Re-examination w/ the original apparatus
ADMX found no indication
2023/01
2023/12
Z-local: 5.1σ, Z-global: 3.5σ
PRL 137 021803 (2026)

## Slide 29: DMAG-12TB
DMAG-12TB (12T/320mm)
Wet type + He recovery systems
f > 1 GHz, V = 32 L, Tsys ~ 200 mK
Hybrid cavity
(Cu cavity + HTS tuning rod)
DAQ since Nov. 19 2025
(1.3–1.5 GHz w/ 1.6 MHz/day)
32 L
Preliminary

## Slide 30
Summary

## Slide 31: DMAG (2025 ~ )

## Slide 32: Plan for next 4 years
Stay tuned!

## Slide 33: Collaboration opportunities

## Slide 35: Traveling-Wave Parametric Amp.
Nonlinear lumped-element transmission line
Up tp thousands of cells
Unit cell
Resonator
Broadband power gain
Commercially available

## Slide 36: High-quality factor
Minimal energy loss under a high magnetic field
ReBCO HTS
  Biaxially-textured 2D tapes (commercially available)
Normal state
Vortex state
Meissner state
High critical field BC2
&
High depinning frequency fdp
↓↓
ReBCO-based
High-Temperature Superconductor (HTS)
H
Hm
f
fdp
Vortex depinning
(high dissipation)
Vortex pinning
(low dissipation)
Stabilizer (Cu) 20 um
Protection layer (Ag) 2 um
Superconducting
layer (GdBCO) 2 um
Buffer layer (MgO) 0.7 um
Substrate [Hastelloy) 50 um
GdBCO HTS tape
Tapes on 2D pieces
Assembly
3D SC cavity
Melon cavity
O. Kwon’s talk

## Slide 37: HF+HTS
2-cell pizza + HTS
Wall
Endcap
Partition
Assembly
QHTS ~ 180k
(cf. QCu ~ 45k)
Preparing for a search w/ 12T
O. Kwon’s talk

## Slide 38: Where to look first?
Cosmological
boundary
Astrophysical constraints
40−80 eV (10−20 GHz)